A Reagent-free SIA System for On-line Quality Control of Carbonated Soft-drink

Saowapak Teerasong,a,b Sumonmarn Chan-Eam,b,c Kamonthip Sereenonchai,b,c

Natchanon Amornthammarong,b,d Nuanlaor Ratanawimarnwong,b,e and Duangjai Nacaprichab,c,*

aInstitute for Innovative Learning, Mahidol University, Nakhon Pathom 73170, Thailand.

bFlow Innovation-Research for Science and Technology Laboratories (FIRST Labs.), Thailand.

cDepartment of Chemistry and Center of Excellence for Innovation in Chemistry,Faculty of Science, Mahidol University, Bangkok 10400, Thailand.

dNational Oceanic & Atmospheric Administration (NOAA), Ocean Chemistry Division/AOML, FL 33149, USA.

eDepartment of Chemistry, Faculty of Science, Srinakharinwirot University, Bangkok 10110, Thailand.

*Correspondence e-mail: scdnc@mahidol.ac.th

Abstract

This work presents a new sequential injection analysis (SIA) method and a system for real-time monitoring of three key parameters for soft-drink industry, i.e., the sugar content, color and dissolved CO2. Detection of the light reflection at the liquid interface (the schlieren effect) of sucrose and water was utilized for sucrose measurement. A near infrared LED was chosen as the light source to ensure that all the ingredients and dyes in soft drinks will not contribute light absorption. A linear calibration was obtained for sucrose over a wide concentration range (3.1–46.5 Brix). The same system can be used to monitor the color of the soft drink as well as the dissolved CO2 during production. For measuring the color, the sample is segmented between air plugs to avoid dispersion. An RGB-LED was chosen as the light source in order to make this system applicable to a wide range of colored samples. The system has a part where dissolved CO2 is measured via gas vaporization from the liquid sample. Dissolved CO2, in a flowing acceptor stream of water resulting in the change of the acceptor conductivity, is detected using an in-house capacitively coupled contactless conductivity detector (C4D). The system includes a vaporization unit that is also used to degas the carbonated drink, prior the measurements of sucrose and color within the same system. The method requires no chemicals and is therefore completely friendly to the environment.

Keywords:  Sucrose, Dissolved CO2, Schlieren effect, Membraneless, Soft-drink,

Sequential injection analysis

Selected References:

- Betteridge, D.; Dagless, E.L.; Graves, N.F. Analyst, 1978, 103, 897-908.

- Sereenonchai, K.; Saetear, P.; Amornthammarong, N.; Uraisin, K.; Wilairat, P,; Motomizu, S.; Nacapricha, D. Anal. Chim. Acta, 2007, 597, 157-162.

Sumonmarn Chan-Eam, Ph.D. student

Silpakorn University, Thailand, Chemistry, B.Sc. 2006

Research field: flow-based technique

# Text boxes

Abstract example for the RGJ Seminar Series